Algorithm for Transformer Load and Efficiency Calculator System

- Start .

- Display the project title and welcome message.

- Input transformer details: name, capacity rating (kVA), primary voltage, secondary voltage, and power factor.

- Validate transformer details to ensure no values are negative.

- Input the total number of connected load types.

- Initialize Total Connected Load to 0.

- For each load type (Repeat up to the total number of load types).

- Input load name, power rating (watts), and quantity).

- Validate that the power rating and quantity are positive values.

- Calculate Load Power = Power Rating × Quantity.

- Add Load Power to Total Connected Load.

- Calculate Apparent Load (kVA) = Total Connected Load / (Power Factor × 1000).

- Calculate Loading Percentage = (Apparent Load / Transformer Rating) × 100.

- Determine Load Status using conditional rules.

- If less than 40% → Lightly Loaded.

- If 40% to 80% → Normal Operating Range.

- If 81% to 100% → Near Full Load.

- If above 100% → Overloaded Transformer Warning.

- Display the final Transformer Load Report on the screen.

- Save the report details into a text file named transformer.

- Stop.